## Lumax Quote (hidden)
LM-FEC-130 | Frameless | end | clamp | 130mm | AL6005T5+ | EPDM+Fasteners |  | 88 | 31.35 | 25 | 23.5125 | 2069.1
LM-FIC-130 | Frameless | inter | clamp130mm | AL6005T5+EPDM+Fasteners |  |  |  | 132 | 42.11 | 25 | 31.5825 | 4168.89
LM-R42-4150 | Rail | (top+bottom | fix) | 42x4150mm | AL6063 | T6 | Mill | 44 | 301.86 | 25 | 226.395 | 9961.38
LM-TBR-VF | Low | trapezoidal | sheet | bracket | with | EPDM |  | 176 | 36.26 | 25 | 27.195 | 4786.32
side | fix | slotted | flat | top | AL6005 | T5
FS-S-22x6-C4 | Stitching | screw | 22mmx6.3mm | Class |  |  | 4 | 704 | 1.25 | 25 | 0.9375 | 660
FS-HB-M8x20 | Hex | Bolt | M8x20mm | SUS304 |  |  |  | 176 | 2.41 | 25 | 1.8075 | 318.12
FS-FW-M8 | Flat | washer | M8x16x1.5 | SUS304 |  |  |  | 176 | 0.35 | 25 | 0.2625 | 46.2
FS-SW-M8 | Spring | Washer | M8 | SUS304 |  |  |  | 176 | 0.26 | 25 | 0.195 | 34.32
LM-RNW | Aluminium | Rail | Nut | Winged | AL6005 | T5 |  | 176 | 3.28 | 25 | 2.46 | 432.96

## Quote
Quotation
Date:
Invoice #:
Sunspec Pty Ltd |  |  |  | Expiration Date:
Company ID : 2019/532408/07 |  |  |  | P.O Number: | -
VAT #4360305389
97 Sovereign Drive, Unit 4
Route 21 Corporate Park
Irene, 0157
Logger 7
VAT No:
Comp Reg:
Item # | Description |  | Unit Price | Qty | Line Total
1 | Longi 550w PV Panels |  | 1811.7647 | 36 | 65223.5294
2 | Battery Inverter and Grid tied inverter |  | 203592 | 1 | 203592
3 | Battery |  | 555294.1176 | 1 | 555294.1176
4 | PV Panel Arrangement & Structure |  | 24458.8235 | 1 | 24458.8235
5 | Cable Racking and trunking |  |  |  | 0
6 | DC Protection Boxes |  |  |  | 0
7 | DC Cabling |  |  |  | 0
8 | AC Cabling, Isolation and Switchgear at tie in point |  |  |  | 0
9 | Earth Cable and Consumables |  |  |  | 0
10 | HSE Requirements |  |  |  | 0
11 | PV System Installation & Commissioning |  | 24125.2941 | 1 | 24125.2941
12 | Scaffold , Access and Rigging |  | 779.2941 | 1 | 779.2941
13 | Site Establishment |  |  |  | 0
13 | Engineering, Detailed Design and PR Sign Off |  | 28235.2941 | 1 | 28235.2941
14 | Logistics & Accommodation |  | 2371.9765 | 1 | 2371.9765
13 | Huawei Ecombi Generator Integration |  |  | 1 | 0
15 | Operation & Maintanance |  |  | 0 | 0
9 | Containerised Substation |  |  | 1 | 0
Subtotal
Sales Tax
TERMS AND CONDITIONS |  |  |  | Total
1. Guarantee does not include tampering or Act of God
2. All equipment is guaranteed by manufacturer according to specified period |  |  |  |  | SUNSPEC (PTY) LTD
3. The Products will remain the property of Sunspec until fully paid |  |  |  |  | FNB BUSINESS ACCOUNT
4.Sunspec will not be liable for additional work that is not part of |  |  |  |  | 62890573910
the original quotation. All hidden defects will be charged additionally |  |  |  |  | BRANCH CODE 210835
5. C.O.C will only be done on installation work
6. All other electrical work will be charged extra
7. No handling fee will be charged on free issued equiptment however The Client will be responsible for insurance and logistics
x ___________________________________________
Print Name:

## Lookups (hidden)
Lookups |  |  |  |  | Currency | First Response Letter |  |  | ROE % | Currency | Data Source | Signatures | Position | Financial Calculator | Financial Calculator |  | First Estimate | Price Calc Vendors | Design Criteria |  | Bat Sizing Calc |  |  |  |  | ROE
[27 empty] | ZAR | US$ | EUR
ea | On | 1 | Days | √ | R | 1 |  | √ | 0% | Euro | Utility Bills |  |  | Off | No |  | 50kW | O-Line | Select | Select | Select | Select | Select |  |  | ZAR | 1 | 14.3653 | 16.0447
lot | Off | 2 | Weeks | x | $ | 2 |  |  | 5% | USD | Site Survey |  |  | On | Yes | √ | 100kW | Cabstr | Utility Bills | 1 Year | 12 | 2 | 10 | -6.7 | 1.59 | US$ |  | 1
m |  | 3 | Months |  | € | 3 |  |  | 10% |  | Calculation |  |  |  |  | x | 150kW |  | Helioscope | 2 Years | 24 |  | 20 | -1.1 | 1.4 | EUR |  |  | 1
m3 |  | 4 |  |  |  | 4 | Residence |  | 100% |  | Recording | [7 empty] | Power Recording | 3 Years | 48 |  | 30 | 4.4 | 1.3
kg |  | 5 |  |  |  | 5 | Factory |  |  |  | Selection | [7 empty] | Load Study | 4 Years | 96 |  | 40 | 10 | 1.19
ton |  | 6 |  |  |  | 6 | Commercial Property |  |  |  | Assumption | [8 empty] | 5 Years |  |  | 50 | 15.6 | 1.11
hr |  | 7 |  |  |  | 7.5 | Installation | [12 empty] | 6 Years |  |  | 60 | 21 | 1.04
day |  | 8 |  |  |  | 10 | [13 empty] | 7 Years |  |  | 70 | 26 | 1
wk |  | 9 |  |  |  | 12 | School | [12 empty] | 8 Years |  |  | 80
mth |  | 10 |  |  |  | 15 | [13 empty] | 9 Years |  |  | 90
km |  | 11 |  |  |  | 17.5 | [13 empty] | 10 Years |  |  | 100
|  | 12 |  |  |  | 20 | [13 empty] | 11 Years
|  | 13 |  |  |  | 25 | [13 empty] | 12 Years
|  | 14 |  |  |  | 30 | [13 empty] | 13 Years
|  | 15 |  |  |  | 45 | [13 empty] | 14 Years
|  | 16 |  |  |  | 50 | [13 empty] | 15 Years
|  | 17 |  |  |  | 60 | [13 empty] | 16 Years
|  | 18 |  |  |  | 90 | [13 empty] | 17 Years
|  | 19 |  |  |  | 120 | [13 empty] | 18 Years
|  | 20 |  |  |  | 150 | [13 empty] | 19 Years
|  | 21 |  |  |  | 200 | [13 empty] | 20 Years
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80

## Inverter Layouts (hidden)
DC Trunking with Lid - 76 x 76
Inv | Inv |  | Inv | Inv |  |  | Inv
Inv | Inv |  | Inv | Inv
Inv | Inv |  | Inv | Inv
|  | AC Cable Ladder 300 mm |  |  |  | AC Cable Ladder 300 mm
Inverter Layout
DC Splitter Box
AC Isolator

## AC Cable Size Data (hidden)
Size | Current Rating |  |  | Imp | Volt Drop | 1 sec Short | D1 |  | d |  | D2 |  | Mass
| Ground | Duct | Air |  |  |  | 3c | 4c | 3c | 4c | 3c | 4c | 3c | 4c
mm2 | (A) | (A) | (A) | (Ohm/km) | (mV/A/m) | (kA) | (mm) | (mm) | (mm) | (mm) | (mm) | (mm) | (kg/km) | (kg/km)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
1.5 | 24 | 20 | 19 | 14.48 | 25.08 | 0.17 | 8.51 | 9.33 | 1.25 | 1.25 | 14.13 | 14.95 | 448 | 501
2.5 | 32 | 26 | 26 | 8.87 | 15.363 | 0.28 | 9.61 | 10.56 | 1.25 | 1.25 | 15.23 | 16.18 | 522 | 597
4 | 42 | 34 | 35 | 5.52 | 9.561 | 0.46 | 11.4 | 12.57 | 1.25 | 1.25 | 17.02 | 18.39 | 667 | 762
6 | 53 | 43 | 45 | 3.69 | 6.391 | 0.69 | 12.58 | 13.9 | 1.25 | 1.25 | 18.4 | 19.72 | 790 | 910
10 | 70 | 58 | 62 | 2.19 | 3.793 | 1.15 | 14.59 | 16.14 | 1.25 | 1.25 | 20.41 | 21.96 | 996 | 1169
16 | 91 | 75 | 83 | 1.38 | 2.39 | 1.84 | 16.55 | 19.18 | 1.25 | 1.25 | 22.37 | 25.92 | 1295 | 1768
25 | 119 | 96 | 110 | 0.8749 | 1.515 | 2.87 | 19.46 | 21.34 | 1.6 | 1.6 | 26.46 | 28.34 | 1838 | 2196
35 | 143 | 116 | 135 | 0.6335 | 1.097 | 4.02 | 20.89 | 23.97 | 1.6 | 1.6 | 27.89 | 31.17 | 2215 | 2732
50 | 169 | 138 | 163 | 0.4718 | 0.817 | 5.75 | 24.26 | 28.14 | 1.6 | 1.6 | 31.46 | 36.54 | 2871 | 3893
70 | 210 | 171 | 207 | 0.3325 | 0.576 | 8.05 | 27.07 | 31.29 | 2 | 2 | 35.47 | 40.09 | 3617 | 4837
95 | 251 | 205 | 251 | 0.246 | 0.427 | 10.92 | 31.19 | 35.82 | 2 | 2 | 39.99 | 44.62 | 4901 | 6115
120 | 285 | 234 | 290 | 0.2012 | 0.348 | 13.8 | 33.38 | 38.1 | 2 | 2 | 42.18 | 47.4 | 5720 | 7269
150 | 320 | 263 | 332 | 0.1698 | 0.294 | 17.25 | 36.68 | 42.05 | 2 | 2 | 45.98 | 52.65 | 6908 | 9250
185 | 361 | 298 | 378 | 0.1445 | 0.25 | 21.27 | 40.82 | 46.75 | 2.5 | 2.5 | 51.12 | 57.45 | 8690 | 11039
240 | 416 | 344 | 445 | 0.122 | 0.211 | 27.6 | 46.43 | 53.06 | 2.5 | 2.5 | 57.13 | 64.16 | 10767 | 13726
300 | 465 | 385 | 510 | 0.109 | 0.189 | 34.5 | 51.1 | 58.53 | 2.5 | 2.5 | 62.2 | 70.13 | 12950 | 16544